## Slide 1
DETAILS OF DEPARTMENT OF PEDODONTICS

## Slide 2
LIST OF EQUIPMENTS
S. No | NAME | Quantity | Availability
1 | Dental Chairs and Units | One chair and unit per post-graduate student and Two chairs with unit for the faculty | One chair and unit per post-graduate student and Two chairs with unit for the faculty
 |  | 1 Unit | 1 Unit
2 | Pedo extraction forceps & elevators sets | 3 | 3
3 | Autoclaves for bulk instrument sterilization vacuum (Front loading) | 1 | 1
4 | RVG with intra oral x-ray unit | 1 | 1
5 | Automatic developer | 1 | 1
6 | Pulp tester | 2 | 2
7 | Apex locator | 1 | 1
8 | Rubber dam kit | 1 | 1
9 | Injectable GP condenser | 1 | 1
10 | Endodontic pressure syringe | 1 | 1
11 | Glass bead steriliser | 2 | 2
12 | Spot welder | 2 | 2
13 | Ultrasonic scalers | 2 | 2
14 | Needle destroyer | 1 | 1
15 | Formalin chamber | 1 | 1

## Slide 3
16 | Ultrasonic cleaner capacity 3.5 lts | 1 | 1
17 | X-ray viewer | 2 | 2
18 | Amalgamator | 1 | 1
19 | Plaster dispenser | 2 | 2
20 | Dental lathe | 1 | 1
21 | Heavy Duty Vibrator (Whip mix) | 2 | 2
22 | Typhodont | 1 | 1
23 | Typhodont Permanent Teeth | 3 | 3
24 | Soldering unit | 1 | 1
25 | Band pinching beak pliers | 2 Sets | 2 Sets
26 | Proximal contouring pliers | 2 | 2
27 | Crown crimping pliers | 2 | 2
28 | Double beak pliers anterior and posterior | 2 | 2
29 | Lab micro motor | 2 | 2
30 | Acryliser | 1 | 1
31 | Magnifying loupes | 1 | 1
32 | Conscious sedation unit | 1 | 1
33 | Pulse oxymeter | 1 | 1
34 | Phantom head table with attached Light, Airotor and micro motor | 1 | 1
35 | Computer with internet connection with attached printer and scanner | 1 | 1
36 | LCD projector | 1 | 1
37 | Refrigerator | 1 | 1
38 | Endodontic microscope | 1 | 1

## Slide 4
39 | Soft tissue laser | 1 | 1
40 | Model trimmer | 1 | 1
41 | Endomotor | 1 | 1
42 | Adjustable Mouth prop A. Infant mouth gag (MGI) B. Child mouth gag (MGC) C. Adult mouth gag (MGA) | 1 (of each Size) | 1 (of each Size)
43 | Papoose Board (Small, Regular, Large size, Extra large size) | 1 (of each Size) | 1 (of each Size)
44 | Head & Arm Immobilizers (Small, Regular, Large size,) | 1 (of each Size) | 1 (of each Size)
45 | Bracket holding pliers | 3 | 3
46 | Straight hoe pliers | 3 | 3
47 | Curved hoe pliers | 3 | 3
48 | Intraoral camera with screen | 3 | 3
49 | Television | 1 | 1

## Slide 5
DEPARTMENT OF PAEDODONTICS
DEPARTMENT OF PAEDODONTICS
PATIENT WAITING AREA

## Slide 6
DEPARTMENT OF PAEDODONTICS – POST GRADUATE SECTION

## Slide 7
DEPARTMENT OF PAEDODONTICS – UNDER GRADUATE SECTION

## Slide 8
AUTOCLAVE
PEDO EXTRACTION FORCEPS & ELEVATORS SETS

## Slide 9
RVG WITH INTRA ORAL X-RAY UNIT

## Slide 10
APEX LOCATOR
RUBBER DAM KIT

## Slide 11
INJECTABLE GUTTA PERCHA CONDENSER
ENDODONTIC PRESSURE SYRINGE

## Slide 12
GLASS BEAD STERILISER
SPOT WELDER

## Slide 13
ULTRASONIC SCALERS
NEEDLE DESTROYER

## Slide 14
FORMALIN CHAMBER
ULTRASONIC CLEANER CAPACITY 3.5 LTS

## Slide 15
X-RAY VIEWER
AMALGAMATOR

## Slide 16
PLASTER DISPENSER
DENTAL LATHE

## Slide 17
HEAVY DUTY VIBRATOR (WHIP MIX)
TYPHODONT

## Slide 18
SOLDERING UNIT
PLIER SET

## Slide 19
LAB MICRO MOTOR
ACRYLISER

## Slide 20
MAGNIFYING LOUPES
CONSCIOUS SEDATION UNIT

## Slide 21
PULSE OXYMETER
PHANTOM HEAD TABLE WITH ATTACHED LIGHT, AIROTOR AND MICRO MOTOR

## Slide 22
COMPUTER WITH INTERNET CONNECTION WITH ATTACHED PRINTER AND SCANNER
LCD PROJECTOR

## Slide 23
REFRIGERATOR
PULP TESTER

## Slide 24
BAND PINCHING BEAK PLIERS
MODEL TRIMMER

## Slide 25
Adjustable Mouth prop
A. Infant mouth gag (MGI)
B. Child mouth gag (MGC)
C. Adult mouth gag (MGA)
CROWN CRIMPING PLIERS
PROXIMAL CONTOURING PLIERS

## Slide 26
STRAIGHT HOE PLIERS
CURVED HOE PLIERS

## Slide 27
INTRAORAL CAMERA
TELEVISION

## Slide 28
ENDOMOTOR
DOUBLE BEAK PLIERS

## Slide 29
Preclinical PG

## Slide 30
Seminar Room